## GW Rates Abstract
Sl No | Item Name | Unit | C1 | C2 | Indexed | Total
1 | Well Protection Cover | each | 0 | 3800 | 0 | 3800
2 | Estimate For Fabricated Angle Iron Structure To Support 5000 Litres Capacity Water Tank At 4 m Height | each | 0 | 71000 | 0 | 71000
3 | Estimate For Fabricated Angle Iron Structure To Support 3000 Litres Capacity Water Tank At 4 m Height | each | 0 | 62000 | 0 | 62000
4 | Estimate For Fabricated Angle Iron Structure To Support 5000 Litres Capacity Water Tank At 6 m Height | each | 0 | 94000 | 0 | 94000
5 | Estimate For Fabricated Angle Iron Structure To Support 3000 Litres Capacity Water Tank At 6 m Height | each | 0 | 83000 | 0 | 83000
6 | Metallic Pump House of size 1.2 x 0.9 x 2 m | each | 0 | 26000 | 0 | 26000
7 | Supplying, assembling, lowering and fixing in vertical position in Borewell, PVC 140 mm 6 Kg/cm2 well casing pipe of required dia, conforming to IS : 4985:2000, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer- in- Charge. | meter | 551.7 | 11.2 | 0 | 562.9
8 | Supplying, assembling, lowering and fixing in vertical position in Borewell, PVC 140 mm 8 Kg/cm2 well casing pipe of required dia, conforming to IS : 4985:2000, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer- in- Charge. | meter | 716.65 | 11.2 | 0 | 727.85
9 | Supplying, assembling, lowering and fixing in vertical position in Borewell, PVC 160mm 6 Kg/cm2 well casing pipe of required dia, conforming to IS : 4985:2000, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer- in- Charge. | meter | 712 | 11.2 | 0 | 723.2
10 | Supplying, assembling, lowering and fixing in vertical position in Borewell, PVC 180mm 6 Kg/cm2 well casing pipe of required dia, conforming to IS : 4985:2000, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer- in- Charge. | meter | 838.6 | 11.2 | 0 | 849.8
11 | Supplying, assembling, lowering and fixing in vertical position in Borewell, PVC 180mm 8 Kg/cm2 well casing pipe of required dia, conforming to IS : 4985:2000, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer- in- Charge. | meter | 1147.55 | 11.2 | 0 | 1158.75
12 | Supplying, assembling, lowering and fixing in vertical position in Borewell, PVC 200mm 8 Kg/cm2 well casing pipe of required dia, conforming to IS : 4985:2000, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer- in- Charge. | meter | 1440.25 | 11.2 | 0 | 1451.45
13 | Supplying, assembling, lowering and fixing in vertical position in Borewell, PVC 200mm 10 Kg/cm2 well casing pipe of required dia, conforming to IS : 4985:2000, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer- in- Charge. | meter | 1775.95 | 11.2 | 0 | 1787.15
14 | Supplying, assembling, lowering and fixing in vertical position in Borewell, PVC 110 mm 6 Kg/cm2 well casing pipe of required dia, conforming to IS : 4985:2000, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer- in- Charge. | meter | 331.05 | 11.2 | 0 | 342.25
15 | Supplying, assembling, lowering and fixing in vertical position in Borewell, PVC 110 mm 4 Kg/cm2 well casing pipe of required dia, conforming to IS : 4985:2000, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer- in- Charge. | meter | 221.85 | 11.2 | 0 | 233.05
16 | Supplying, assembling, lowering and fixing in vertical position in Borewell, PVC 140 mm 10 Kg/cm2 well casing pipe of required dia, conforming to IS : 4985:2000, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer- in- Charge. | meter | 864.15 | 11.2 | 0 | 875.35
17 | Supplying, assembling, lowering and fixing in vertical position in Borewell, PVC 180mm 10 Kg/cm2 well casing pipe of required dia, conforming to IS : 4985:2000, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer- in- Charge. | meter | 1456.5 | 11.2 | 0 | 1467.7
18 | 200 mm UPVC plain pipe (23.3.3) | meter | 0 | 826.44 | 0 | 826.44
19 | 200 mm UPVC (RMS) ribbed screen pipe (23.4.3) | meter | 0 | 954.28 | 0 | 954.28
20 | 200 mm MS end cap (7748) Basic Rate | each | 0 | 200 | 0 | 200
21 | 200 mm bail plug (MS) (23.15.3) | each | 0 | 267.85 | 0 | 267.85
22 | 150 mm UPVC plain pipe (23.3.2) | meter | 0 | 580.35 | 0 | 580.35
23 | 150 mm UPVC (RMS) ribbed screen pipe (23.4.2) | meter | 0 | 591.96 | 0 | 591.96
24 | 150 mm MS end cap (7747) Basic Rate | each | 0 | 150 | 0 | 150
25 | 150 mm MS bail plug (23.15.2) | each | 0 | 244.62 | 0 | 244.62
26 | Providing and fixing G.I. pipes complete with G.I fittings: 25 mm dia nominal bore | meter | 0 | 263.95 | 0 | 263.95
27 | Providing and fixing G.I. pipes complete with G.I fittings: 32 mm dia nominal bore | meter | 0 | 298.45 | 0 | 298.45
28 | Providing and fixing G.I. pipes complete with G.I fittings: 40 mm dia nominal bore | meter | 0 | 385.85 | 0 | 385.85
29 | Providing and fixing G.I. pipes complete with G.I fittings: 50 mm dia nominal bore | meter | 0 | 469 | 0 | 469
30 | Providing and fixing G.I. pipes complete with G.I fittings: 65 mm dia nominal bore | meter | 0 | 568.35 | 0 | 568.35
31 | Providing and fixing G.I. pipes complete with G.I fittings: 80 mm dia nominal bore | meter | 0 | 699 | 0 | 699
32 | Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement & testing of joints complete as per direction of Engineer in Charge. 25 mm dia 10KGF/cm2 | meter | 64.11 | 29.66 | 0 | 93.77
33 | Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement & testing of joints complete as per direction of Engineer in Charge. 32 mm dia 10KGF/cm2 | meter | 86.82 | 29.66 | 0 | 116.48
34 | Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement & testing of joints complete as per direction of Engineer in Charge. 32 mm dia 6 KGF/cm2 | meter | 69.46 | 29.66 | 0 | 99.12
35 | Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement & testing of joints complete as per direction of Engineer in Charge. 40 mm dia 6 KGF/cm2 | meter | 70.79 | 29.66 | 0 | 100.45
36 | Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement & testing of joints complete as per direction of Engineer in Charge. 40 mm dia 10 KGF/cm2 | meter | 112.2 | 29.66 | 0 | 141.86
37 | Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement & testing of joints complete as per direction of Engineer in Charge. 50 mm dia 6 KGF/cm2 | meter | 80.14 | 29.66 | 0 | 109.8
38 | Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement & testing of joints complete as per direction of Engineer in Charge. 50 mm dia 10 KGF/cm2 | meter | 120.22 | 29.66 | 0 | 149.88
39 | Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement & testing of joints complete as per direction of Engineer in Charge.63 mm dia 6 KGF/cm2 | meter | 157.62 | 29.66 | 0 | 187.28
40 | Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement & testing of joints complete as per direction of Engineer in Charge.75 mm dia 6 KGF/cm2 | meter | 172.31 | 29.66 | 0 | 201.97
41 | Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement & testing of joints complete as per direction of Engineer in Charge.110 mm dia 6 KGF/cm2 | meter | 281.84 | 29.66 | 0 | 311.5
42 | Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement & testing of joints complete as per direction of Engineer in Charge.150 mm dia 6 KGF/cm2 | meter | 694.58 | 29.66 | 0 | 724.24
43 | Providing and fixing PVC pipes includes jointing of pipes including clamp ,scaffolding complete as per direction of Engineer in Charge.for 140 mm dia 6 KGF/cm2 for 10m | meter | 634.47 | 29.66 | 0 | 664.13
44 | Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 140 mm dia 6 KGF/cm2 | meter | 634.47 | 128.55 | 0 | 763.02
45 | Borewell submersible pump erection charges upto 3 HP | each | 1086 | 5972.43 | 0 | 7058.44
46 | Borewell submersible pump erection charges above 3 h.P. To 7.5 H.P. | each | 1086 | 7592.73 | 0 | 8678.73
47 | Borewell submersible pump erection charges above 7.5 H.P. | each | 1086 | 9213.02 | 0 | 10299.02
48 | Hand pump erection (deep well) | each | 0 | 4310.33 | 0 | 4310.33
49 | Hand pump erection (extra deep well) | each | 0 | 5569.39 | 0 | 5569.39
50 | Pulling out of hand pump for repairing and re-erecting | each | 0 | 5970.11 | 0 | 5970.11
51 | Compressor pump fitting charge | each | 0 | 3615.75 | 0 | 3615.75
52 | Providing and fixing PVC full pipe as gutter pipes includes laying jointing of pipes complete as per direction of Engineer in Charge for 140 mm dia 6 KGF/cm2 | meter | 579.3 | 93.19 | 0 | 672.49
53 | Providing and fixing PVC gutter pipes includes laying jointing of pipes, complete as per direction of Engineer in Charge.for 160 mm dia 6 KGF/cm2 for 10m | meter | 747.6 | 93.19 | 0 | 840.79
54 | Providing and fixing 140mm square PVC gutter pipes includes laying jointing of pipes including clamp, complete as per direction of Engineer in Charge. for 10m | meter | 414.66 | 93.19 | 0 | 507.85
55 | Providing and fixing 160mm square PVC gutter pipes includes laying jointing of pipes including clamp, complete as per direction of Engineer in Charge. for 10m | meter | 467.5 | 93.19 | 0 | 560.69
56 | Providing and fixing MS Clamp for gutter pipe as per direction of Engineer in Charge. | each | 40.65 | 29.44 | 0 | 70.09
57 | Hydrants with tap (for common use of size 0.8 x 0.5 m platform) | each | 671.93 | 1562.02 | 0 | 2233.95
58 | Hydrants with tap ( for individual families of size 0.6 X 0.3 M platform) | each | 671.93 | 1030.38 | 0 | 1702.31
59 | PVC Elbow 90 mm | each | 140 |  | 0 | 140
60 | PVC Elbow 140 mm | each | 250 |  | 0 | 250
61 | PVC Elbow 160 mm | each | 400 |  | 0 | 400
62 | S&F PVC Bend 63 mm (50.18.9.20.4) | each | 41.23 | 29.77 | 0 | 71
63 | S&F PVC Bend 75 mm (50.18.9.21.4) | each | 50.53 | 29.77 | 0 | 80.3
64 | S&F PVC Bend 90 mm (DG) | each | 80 | 31 | 0 | 111
65 | S&F PVC Bend 110 mm (50.18.9.22.4) | each | 118.47 | 33.29 | 0 | 151.76
66 | S&F PVC Bend 140 mm (DG) | each | 150 | 35 | 0 | 185
67 | S&F PVC Bend 150 mm (D) | each | 638.83 | 29.77 | 0 | 668.6
68 | PVC End cap 140 mm | each | 175 |  | 0 | 175
69 | PVC End cap 150 mm | each | 210 |  | 0 | 210
70 | PVC End Cap 180 mm | each | 275 |  | 0 | 275
71 | PVC End Cap 200 mm | each | 350 |  | 0 | 350
72 | PVC Square End Cap 140 mm | each | 200 |  | 0 | 200
73 | PVC Square End Cap 160 mm | each | 250 |  | 0 | 250
74 | PVC Half End Cap 140 mm | each | 150 |  | 0 | 150
75 | PVC Half End Cap 160 mm | each | 160 |  | 0 | 160
76 | PVC Half Square End Cap 140 mm | each | 150 |  | 0 | 150
77 | PVC Half Square End Cap 160 mm | each | 175 |  | 0 | 175
78 | S&F PVC Tee 75 mm (50.18.9.21.5) | each | 55.17 | 31.44 | 0 | 86.62
79 | S&F PVC Tee 90 mm (DG) | each | 85 | 32.5 | 0 | 117.5
80 | S&F PVC Tee 110 mm (50.18.9.22.5) | each | 130.09 | 34.97 | 0 | 165.05
81 | S&F PVC Tee 140 mm (DG) | each | 160 | 36 | 0 | 196
82 | S&F PVC Tee 160 mm (DG) | each | 190 | 37.5 | 0 | 227.5
83 | PVC Reducer 90X75 mm | each | 60 |  | 0 | 60
84 | PVC Reducer 110X90 mm | each | 100 |  | 0 | 100
85 | PVC Reducer 140X90 mm | each | 120 |  | 0 | 120
86 | PVC Reducer 160X140 mm | each | 350 |  | 0 | 350
87 | PVC Reducer 160X110 mm | each | 300 |  | 0 | 300
88 | PVC Runner End Drop 140 mm | each | 175 |  | 0 | 175
89 | PVC Runner End Drop 160 mm | each | 200 |  | 0 | 200
90 | PVC End Drop 140 mm | each | 160 |  | 0 | 160
91 | PVC End Drop 160 mm | each | 180 |  | 0 | 180
92 | PVC Half End Drop 140 mm | each | 145 |  | 0 | 145
93 | PVC Half End Drop 160 mm | each | 165 |  | 0 | 165
94 | PVC Square End Drop 140 mm | each | 165 |  | 0 | 165
95 | PVC Square End Drop 160 mm | each | 185 |  | 0 | 185
96 | PVC Square Half End Drop 140 mm | each | 150 |  | 0 | 150
97 | PVC Square Half End Drop 160 mm | each | 175 |  | 0 | 175
98 | S&F PVC Coupling 63 mm 50.18.9.20.9 | each | 28.46 | 29.77 | 0 | 58.23
99 | S&F PVC Coupling 75 mm 50.18.9.21.9 | each | 34.85 | 29.77 | 0 | 64.62
100 | S&F PVC Coupling 90 mm (Derived by MR 89) | each | 60.4 | 33.29 | 0 | 93.69
101 | S&F PVC Coupling 110 mm 50.18.9.22.11 | each | 68.53 | 33.29 | 0 | 101.82
102 | S&F PVC Coupling 140 mm (Derived by MR MR10025) | each | 185.84 | 33.29 | 0 | 219.13
103 | S&F PVC Coupling 160 mm (Derived by MR MR10026) | each | 214.88 | 33.29 | 0 | 248.17
104 | S&F PVC Coupling 180 mm (Derived by MR MR10027) | each | 245.08 | 33.29 | 0 | 278.37
105 | S&F PVC Coupling 200 mm (Derived by MR MR10028) | each | 394.91 | 33.29 | 0 | 428.2
106 | S&F PVC Coupling 250 mm (Derived by MR MR10029) | each | 1037.22 | 33.29 | 0 | 1070.51
107 | S&F PVC Coupling 280 mm (Derived by MR MR10030) | each | 1161.5 | 33.29 | 0 | 1194.79
108 | S&F PVC 45o Elbow 75 mm (50.18.9.21.2) | each | 32.52 | 29.77 | 0 | 62.29
109 | S&F PVC 45o Elbow 90 mm (D) | each | 45 | 31.5 | 0 | 76.5
110 | S&F PVC 45o Elbow 110 mm (50.18.9.22.2) | each | 62.72 | 33.29 | 0 | 96.01
111 | S&F PVC 45o Elbow 140 mm (D) | each | 80 | 38 | 0 | 118
112 | S&F PVC 45o Elbow 160 mm (D) | each | 95 | 42 | 0 | 137
113 | PVC Tank connector 32 mm | each | 180 |  | 0 | 180
114 | PVC Tank connector 40 mm | each | 200 |  | 0 | 200
115 | PVC Tank connector 50 mm | each | 240 |  | 0 | 240
116 | PVC Tank connector 63 mm | each | 350 |  | 0 | 350
117 | PVC Tank connector 75 mm | each | 380 |  | 0 | 380
118 | PVC Tank connector 90 mm | each | 450 |  | 0 | 450
119 | PVC Ball valve 25 mm | each | 140 |  | 0 | 140
120 | PVC Ball valve 32 mm | each | 180 |  | 0 | 180
121 | PVC Ball valve 40 mm | each | 280 |  | 0 | 280
122 | PVC Ball valve 50 mm | each | 380 |  | 0 | 380
123 | PVC Ball valve 63 mm | each | 400 |  | 0 | 400
124 | PVC Ball valve 75 mm | each | 600 |  | 0 | 600
125 | PVC Ball valve 90 mm | each | 700 |  | 0 | 700
126 | PVC Ball valve 110 mm | each | 850 |  | 0 | 850
127 | S&F PVC Coupling 32 mm (DG) | each | 18.5 | 28.46 | 0 | 46.96
128 | S&F PVC Coupling 40 mm (DG) | each | 22.5 | 28.46 | 0 | 50.96
129 | S&F PVC Coupling 50 mm (DG) | each | 25.5 | 28.46 | 0 | 53.96
130 | S&F PVC Coupling 63 mm (DG) | each | 28.46 | 29.77 | 0 | 58.23
131 | GI Bend 32 mm | each | 110 |  | 0 | 110
132 | GI Bend 40 mm | each | 135 |  | 0 | 135
133 | GI Bend 50 mm | each | 205 |  | 0 | 205
134 | GI Bend 65 mm | each | 345 |  | 0 | 345
135 | GI Socket 32 mm | each | 80 |  | 0 | 80
136 | GI Socket 40 mm | each | 95 |  | 0 | 95
137 | GI Socket 50 mm | each | 140 |  | 0 | 140
138 | GI Socket 65 mm | each | 235 |  | 0 | 235
139 | GI Tee 32 mm | each | 80 |  | 0 | 80
140 | GI Tee 40 mm | each | 95 |  | 0 | 95
141 | GI Tee 50 mm | each | 140 |  | 0 | 140
142 | GI Tee 65 mm | each | 235 |  | 0 | 235
143 | 1 HP 14 Stage 83-30 m head single phase pump including panel board | each | 18700 |  | 0 | 18700
144 | 1 HP 16 Stage 110-50 m head single phase pump including panel board | each | 19360 |  | 0 | 19360
145 | 1 HP 24 Stage 120-50 m head single phase pump including panel board | each | 19470 |  | 0 | 19470
146 | 1 HP 28 Stage 127-59 m head single phase pump including panel board | each | 20900 |  | 0 | 20900
147 | 1.5 HP 18 Stage 107-30 mhead single phase pump including panel board | each | 20350 |  | 0 | 20350
148 | 1.5 HP 21 Stage 125-50 mhead single phase pump including panel board | each | 20460 |  | 0 | 20460
149 | 1.5 HP 34 Stage 176-50 m head single phase pump including panel board | each | 23320 |  | 0 | 23320
150 | 1.5 HP 40 Stage 200-60 m head single phase pump including panel board | each | 24860 |  | 0 | 24860
151 | 2 HP 14 Stage 113-40 m head single phase pump including panel board | each | 20570 |  | 0 | 20570
152 | 2 HP 18 Stage 120-40 m head single phase pump including panel board | each | 21780 |  | 0 | 21780
153 | 2 HP 20 Stage 148-30m head single phase pump including panel board | each | 21890 |  | 0 | 21890
154 | 2 HP 28 Stage 160-40 m head single phase pump including panel board | each | 23760 |  | 0 | 23760
155 | 3 HP 22 Stage 170-55 m head single phase pump including panel board | each | 26840 |  | 0 | 26840
156 | 3 HP 27 Stage 180-40 m head single phase pump including panel board | each | 29480 |  | 0 | 29480
157 | 3 HP 34 Stage 210-50 m head single phase pump including panel board | each | 30580 |  | 0 | 30580
158 | 5 HP 18 Stage 140-40 m head single phase pump including panel board | each | 26840 |  | 0 | 26840
159 | 5 HP 25 Stage 180-40 m head single phase pump including panel board | each | 30690 |  | 0 | 30690
160 | 2HP 18 Stage 120-40 m head three phase pump including panel board | each | 19250 |  | 0 | 19250
161 | 2HP 28 Stage 160-40 m head three phase pump including panel board | each | 22000 |  | 0 | 22000
162 | 3HP 22 Stage 170-55 m head three phase pump including panel board | each | 24310 |  | 0 | 24310
163 | 3HP 27 Stage 180-40 m head three phase pump including panel board | each | 26070 |  | 0 | 26070
164 | 3HP 34 Stage 210-50 m head three phase pump including panel board | each | 25300 |  | 0 | 25300
165 | 5HP 24 Stage 180-40 m head three phase pump including panel board | each | 28490 |  | 0 | 28490
166 | 5HP 26 Stage 185-52 m head three phase pump including panel board | each | 28930 |  | 0 | 28930
167 | 5HP 36 Stage 200-30 m head three phase pump including panel board | each | 30580 |  | 0 | 30580
168 | 7.5 HP 18 Stage 110-40 m head three phase pump including panel board | each | 35750 |  | 0 | 35750
169 | 7.5 HP 24 Stage 180-60 m head three phase pump including panel board | each | 38170 |  | 0 | 38170
170 | 7.5 HP 30 Stage 210-100 m head three phase pump including panel board | each | 41800 |  | 0 | 41800
171 | 10 HP 15 Stage 280-100 m head three phase pump including panel board | each | 51810 |  | 0 | 51810
172 | 12.5 HP 20 Stage 290-100 m head three phase pump including panel board | each | 67650 |  | 0 | 67650
173 | Compressor pump 1.5 HP single phase | each | 18370 |  | 0 | 18370
174 | Compressor pump 2 HP single phase | each | 20900 |  | 0 | 20900
175 | Compressor pump 5 HP three phase | each | 30030 |  | 0 | 30030
176 | Compressor pump 7.5 HP three phase | each | 39710 |  | 0 | 39710
177 | S&F 1.5 mm cable for submersible pump. 90.6.6.1 | meter | 67.12 |  | 0 | 67.12
178 | S&F 2.5 mm cable for submersible pump 90.6.6.2 | meter | 95.57 |  | 0 | 95.57
179 | S&F 4 mm cable for submersible pump 90.6.6.3 | meter | 132.48 |  | 0 | 132.48
180 | S&F 6 mm cable for submersible pump 90.6.6.4 | meter | 187.3 |  | 0 | 187.3
181 | 4mm u/g cable 90.12.37.5 (3 core, Including Trenching)S&F | meter | 468.45 |  | 0 | 468.45
182 | 12 mm thick nylon rope | meter | 25 |  | 0 | 25
183 | 14 mm thick nylon rope | meter | 33 |  | 0 | 33
184 | 16 mm thick nylon rope | meter | 37 |  | 0 | 37
185 | Steel rope | meter | 80 |  | 0 | 80
186 | 32 mm dia UPVC pipe | meter | 175 |  | 0 | 175
187 | 40 mm dia UPVC pipe | meter | 235 |  | 0 | 235
188 | 50 mm dia UPVC pipe | meter | 300 |  | 0 | 300
189 | 63 mm dia UPVC pipe | meter | 360 |  | 0 | 360
190 | 20 mm dia HDPE pipe (DG) (8kg) | meter | 15 |  | 0 | 15
191 | 32 mm dia HDPE pipe (DG) (8kg) | meter | 35 |  | 0 | 35
192 | 40 mm dia HDPE pipe (DG) (8kg) | meter | 50 |  | 0 | 50
193 | 50 mm dia HDPE pipe 100.98.131 (8kg) | meter | 73.73 |  | 0 | 73.73
194 | 63 mm dia HDPE pipe 100.98.132 (8kg) | meter | 103.22 |  | 0 | 103.22
195 | 32 mm SS Adapter | each | 520 |  | 0 | 520
196 | 40 mm SS Adapter | each | 620 |  | 0 | 620
197 | 50 mm SS Adapter | each | 780 |  | 0 | 780
198 | 50 mm UPVC Union | each | 300 |  | 0 | 300
199 | 63 mm UPVC Union | each | 450 |  | 0 | 450
200 | 75 mm UPVC Union | each | 1000 |  | 0 | 1000
201 | 150mm MS bail plug for tubewell 23.15.2 | each | 244.61 |  | 0 | 244.61
202 | 200 mm MS bail plug for tubewell 23.15.3 | each | 267.84 |  | 0 | 267.84
203 | Pebbles for tubewell (4-8 mm) | tonne | 5000 |  | 0 | 5000
204 | Sodium Bentonite (ordinary) | tonne | 7000 |  | 0 | 7000
205 | Sodium Bentonite (Super) | tonne | 13500 |  | 0 | 13500
206 | MS Casing pipe 450 mm dia, 6 mm thickness | meter | 7000 |  | 0 | 7000
207 | MS Casing pipe 450 mm dia, 5 mm thickness | meter | 6000 |  | 0 | 6000
220 | Steel clamp | each | 15 |  | 0 | 15
221 | Fibre mesh for placing inside filter tank (for recharge schemes) | sqm | 180 |  | 0 | 180
222 | Coated mesh for placing inside filter tank (for recharge schemes) | sqm | 300 |  | 0 | 300
223 | Sieve mesh 110 mm (inside inspection chamber) (for recharge schemes) | sqm | 180 |  | 0 | 180
224 | Sieve mesh 140 mm (inside inspection chamber) (for recharge schemes) | sqm | 200 |  | 0 | 200
225 | Plastic net for covering pipe (for recharge schemes) | sqm | 50 |  | 0 | 50
226 | Hand Pump Repair Cost of spares (as per actuals) | each | 6500 | 0 | 0 | 6500
227 | Supplying, assembling, fibre reinforced polymer vessel (FRP) size (14" Dia 65" Height) Weight – 21 kg, Tank Volume - 150 liter, Material- Polyethylene, Max Pressure -150 PSI, Max Vacuum- 5" Hg, Max temperature-49'c, Capacity- 1000-10000 L, opening at top & bottom including hire & labour charges, fittings & accessories etc.complete, as per direction of Engineer-in-charge | each | 16500 | 497.94 | 0 | 16997.94
228 | Supplying, assembling, fibre reinforced polymer vessel (FRP) size (16" Dia 65" Height) Weight – 22 kg, Tank Volume - 185 liter, Material- Polyethylene, Max Pressure -150 PSI, Max Vacuum- 5" Hg, Max temperature-49'c, Capacity- 1000-10000 L, opening at top & bottom including hire & labour charges, fittings & accessories etc.complete, as per direction of Engineer-in-charge | each | 26500 | 497.94 | 0 | 26997.94
229 | Supplying, assembling, fibre reinforced polymer vessel (FRP) Size-(18" Dia 65" Height), Weight-30kg, Tank Volume - 242 liter , Material- Polyethylene, Max Pressure -150 PSI, Max Vacuum- 5" Hg, Max Temperature -49'c, Capacity- 1000-10000 L, opening at top & bottom including hire & labour charges, fittings & accessories etc.complete, as per direction of Engineer-in-charge | each | 36000 | 497.94 | 0 | 36497.94
230 | Supplying, assembling, fibre reinforced polymer vessel (FRP) Size-(21" Dia 62" Height), Weight-43kg, Tank Volume -318 liter , Material- Polyethylene, Max Pressure -150 PSI, Max Vacuum- 5" Hg, Temperature-49'c, Capacity- 1000-10000 L, opening at top & bottom including hire & labour charges, fittings & accessories etc.complete, as per direction of Engineer-in-charge | each | 40500 | 497.94 | 0 | 40997.94
231 | Supplying, assembling, fibre reinforced polymer vessel (FRP) Size-(24" Dia 72" Height), Weight-49kg, Tank Volume -451 liter , Material- Polyethylene, Max Pressure -150 PSI, Max Vacuum- 5" Hg, Temperature-49'c, Capacity- 1000-10000 L, opening at top & bottom including hire & labour charges, fittings & accessories etc.complete, as per direction of Engineer-in-charge | each | 49000 | 572.85 | 0 | 49572.85
232 | Supplying, assembling, fibre reinforced polymer vessel (FRP) Size-(30" Dia 72" Height), Weight-90kg, Tank Volume -708 liter , Material- Polyethylene, Max Pressure -150 PSI, Max Vacuum- 5" Hg, Temperature-49'c, Capacity- 1000-10000 L, opening at top & bottom including hire & labour charges, fittings & accessories etc.complete, as per direction of Engineer-in-charge | each | 62000 | 754.98 | 0 | 62754.98
233 | Supplying, assembling, fibre reinforced polymer vessel (FRP) Size-(36" Dia 72" Height), Weight-105kg, Tank Volume -1020 liter , Material- Polyethylene, Max Pressure -150 PSI, Max Vacuum- 5" Hg, Temperature-49'c, Capacity- 1000-10000 L, opening at top & bottom including hire & labour charges, fittings & accessories etc.complete, as per direction of Engineer-in-charge | each | 83000 | 754.98 | 0 | 83754.98
234 | Supplying, assembling, manually operated multi port valve 40 NB Material -PVC, Max pressure – 4kg/cm2, including hire & labour charges, fittings & accessories etc. all complete, as per direction of Engineer-in-charge | each | 7677 | 36.01 | 0 | 7713.01
235 | Supplying, assembling, manually operated multi port valve flower type 50NB Material -PVC, Max pressure – 4kg/cm2, including hire & labour charges, fittings & accessories etc. all complete, as per direction of Engineer-in-charge | each | 9620 | 36.01 | 0 | 9656.01
236 | Supplying, assembling, multi port valve 65 NB Manually Material -PVC, Max pressure – 4kg/cm2, including hire & labour charges, fittings & accessories etc. all complete, as per direction of Engineer-in-charge including hire & labour charges, fittings & accessories etc. all complete, as per direction of Engineer-in-charge | each | 11487 | 36.01 | 0 | 11523.01
237 | Supplying, assembling, distributer 40 NB including hire & labour charges, fittings & accessories etc. all complete, as per direction of Engineer-in-charge | each | 4530 | 36.01 | 0 | 4566.01
238 | Supplying, assembling, distributer 50 NB including hire & labour charges, fittings & accessories etc. all complete, as per direction of Engineer-in-charge | each | 6750 | 36.01 | 0 | 6786.01
239 | Supplying, assembling, distributer 65 NB including hire & labour charges, fittings & accessories etc. all complete, as per direction of Engineer-in-charge | each | 10266 | 36.01 | 0 | 10302.01
240 | Supplying, assembling, and fixing Electrically operated Diaphragm type dosing pump 10 lph including hire & labour charges, fittings & accessories etc. all complete, as per direction of Engineer-in-charge | each | 15662 | 331.96 | 0 | 15993.96
241 | Supplying, assembling, and fixing Electrically operated Diaphragm type dosing pump 40 lph including hire & labour charges, fittings & accessories etc. all complete, as per direction of Engineer-in-charge | each | 42500 | 331.96 | 0 | 42831.96
242 | Supplying, assembling, and fixing single Phase Pure Copper , Self priming monoblock feed pump 1Hp including hire & labour charges, fittings & accessories etc. all complete, as per direction of Engineer-in-charge | each | 12699 | 331.96 | 0 | 13030.96
243 | Supplying, assembling, and fixing single Phase Pure Copper , Self priming monoblock feed pump 1.5Hp including hire & labour charges, fittings & accessories etc. all complete, as per direction of Engineer-in-charge | each | 15180 | 331.96 | 0 | 15511.96
244 | Supplying, assembling, and fixing single Phase Pure Copper , Self priming monoblock feed pump 2Hp including hire & labour charges, fittings & accessories etc. all complete, as per direction of Engineer-in-charge | each | 22270 | 331.96 | 0 | 22601.96
245 | Supplying, assembling, and fixing sludge pump 1Hp, 220v, Max head 20m , 750W, Max flw 15000 lph including hire & labour charges, fittings & accessories etc. all complete, as per direction of Engineer-in-charge | each | 16282 | 331.96 | 0 | 16613.96
246 | Supplying, assembling, and fixing 5000 lph Stainless Steel UV Plant including hire & labour charges, fittings & accessories etc. all complete, as per direction of Engineer-in-charge | each | 40522 | 331.96 | 0 | 40853.96
247 | Supplying, assembling, and fixing 10000 lph UV Plant including hire & labour charges, fittings & accessories etc. all complete, as per direction of Engineer-in-charge | each | 62500 | 331.96 | 0 | 62831.96
248 | Supplying, assembling, and fixing 15000 lph UV Plant including hire & labour charges, fittings & accessories etc. all complete, as per direction of Engineer-in-charge | each | 71266 | 331.96 | 0 | 71597.96
249 | Supplying, assembling, and fixing automatic treatment plant controller including automation of plant, hire & labour charges, fittings & accessories etc. all complete, as per direction of Engineer-in-charge | each | 32500 | 331.96 | 0 | 32831.96
250 | Supplying, assembling, and fixing 63mm pressure gauge including hire & labour charges, fittings & accessories etc. all complete, as per direction of Engineer-in-charge | each | 2800 | 36.01 | 0 | 2836.01
251 | Supplying and filling, Silex, Fine sand and Pressure sand including hire & labour charges, carriage etc complete, as per direction of Engineer-in-charge | 100 kg | 2000 | 449.5 | 0 | 2449.5
252 | Supplying and filling, Katalox iron remover including hire & labour charges, carriage etc. all complete, as per direction of Engineer-in-charge | 100 kg | 35000 | 449.5 | 0 | 35449.5
253 | Supplying and filling, Activated carbon IV 1050 including hire & labour charges, carriage etc. all complete, as per direction of Engineer-in-charge | 100 kg | 31000 | 449.5 | 0 | 31449.5
254 | Supplying and filling, liquid chlorine including hire & labour charges, carriage etc. all complete, as per direction of Engineer-in-charge | 25 kg | 1064.5 | 74.92 | 0 | 1139.42
255 | Supplying and filling, liquid alum including hire & labour charges, fittings & accessories etc. all complete, as per direction of Engineer-in-charge | 25 kg | 833.75 | 74.92 | 0 | 908.67
256 | Plant installation charges including labour and materials for supports, stand, PVC connection pipes, PVC valves, air valves etc complete. all complete | each | 14694.2 | 20621.01 | 0 | 35315.21
257 | Plant inspection, maintenance, cleaning, back wash, sludge removal, sample collection and correction of Dosing etc complete, and water quality checking (except filling chemicals) | each visit | 5500 | 869.96 | 0 | 6369.96
258 | GI work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | kg | 0 | 151.04 | 0 | 151.04
259 | Hydrogeological Investigation (Domestic) | each visit | 585 | 0 | 0 | 585
260 | Hydrogeological Investigation (Institution) | each visit | 1935 | 0 | 0 | 1935
261 | Hydrogeological Investigation (Industrial) | each visit | 3860 | 0 | 0 | 3860
262 | Well Logging | 5 hours | 14475 | 0 | 0 | 14475
263 | 110mm (4.5") Borewell Drilling | meter | 390 | 0 | 0 | 390
264 | 150mm (6") Borewell Drilling | meter | 665 | 0 | 0 | 665
265 | 150mm (6") Tubewell Drilling | meter | 2315 | 0 | 0 | 2315
266 | Tubewell Drilling over 150mm (6") | meter | 2980 | 0 | 0 | 2980
267 | 110mm (4.5") Filterpoint Well Drilling | meter | 255 | 0 | 0 | 255
268 | Flushing (Developing) Borewell | each | 5790 | 0 | 0 | 5790
269 | Flushing (Developing) Tubewell | each | 15435 | 0 | 0 | 15435
270 | Flushing (Developing) Filterpoint well | each | 2870 | 0 | 0 | 2870
271 | Water Quality Testing (Domestic) | each sample | 445 | 0 | 0 | 445
272 | Water Quality Testing (Industrial) | each sample | 1105 | 0 | 0 | 1105
273 | Borewell submersible pump pullout charges upto 3 HP | each | 0 | 3402.03 | 0 | 3402.03
274 | Borewell submersible pump pullout charges above 3 h.P. To 7.5 H.P. | each | 0 | 4273.16 | 0 | 4273.16
275 | Borewell submersible pump pullout charges above 7.5 H.P. | each | 0 | 5144.28 | 0 | 5144.28
276 | Pulling out of hand pump for repairing and re-erecting | each | 0 | 5970.11 | 0 | 5970.11
277 | Compressor pump fitting charge | each | 0 | 1875.24 | 0 | 1875.24