## MWSS with Submersible Pump
Item Name | Quantity
Flushing (Developing) Borewell (Code: GWDDR105) | 1
Supply of Single Phase Submersible Pump 2 HP, Discharge 5200-10600 lph, Head 57-18m without Panel Board (Code: GWDMR149) | 1
40 mm dia UPVC pipe (Code: GWDMR073) | 1
14 mm thick nylon rope (Code: GWDMR069) | 85
Supply and drawing FRLS PVC insulated & sheathed 650/1100 V grade 3 core copper conductor flat cable for submersible pump motor conforming to IS 694 part I 1990 as required including giving necessary connections of the following sizes. 4 sq mm (90.6.6.3) (Code: GWDDR117) | 85
Borewell submersible pump erection charges upto 3 HP (Code: GWDDR049) | 1
Providing and fixing gun metal non-return valve of approved quality (screwed end): 40 mm nominal bore Horizontal (18.19.3.1) (Code: GWDDR260) | 1
GI Bend 40 mm (Code: GWDMR053) | 1
GI Socket 40 mm (Code: GWDMR057) | 1
40 mm SS Adapter (Code: GWDMR080) | 1
Well Protection Cover (Code: GWDDR001) | 1
Metallic Pump House of size 1.2 x 0.9 x 2 m (Code: GWDDR006) | 1
Installation of Single Phase Panel board where new electricity connection is required (Excluding Motor Starter) (Code: GWDDR363) | 1
S & F Motor starters of the following ratings Submersible pump controllers with ammeter,DPMCB for single phase 2 HP submersible motor pumps (DOL) (90.14.28.13) (Code: GWDDR134) | 1
Angle Iron Structure To Support 3000 Litres Capacity Water Tank At 4 m Height (Code: GWDDR003) | 1
Providing and placing on terrace (at all floor levels) polyethylene water storage tank :ISI 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. (Code: 18.48) | 3000
PVC Tank connector 40 mm (Code: GWDMR035) | 1
PVC Tank connector 50 mm (Code: GWDMR036) | 1
PVC Ball valve 40 mm (Code: GWDMR042) | 1
PVC Ball valve 50 mm (Code: GWDMR043) | 1
Providing and fixing PVC pipes including jointing of pipes with one step PVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 50 mm dia 10Kgf/cm2 (50.18.9.6.1) (Code: GWDDR192) | 50
Providing and fixing PVC pipes including jointing of pipes with one step PVC solvent cement, trenching refilling & testing of joints complete as per direction of Engineer in Charge 40 mm dia 10Kgf/cm2 (50.18.9.5.1) (Code: GWDDR190) | 50
Providing and fixing PVC pipes including jointing of pipes with one step PVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.32 mm dia 10.Kgf/cm2 (50.18.9.4.1) (Code: GWDDR188) | 50
Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 25 mm dia 10KGF/cm2 (50.18.9.3.2) (Code: GWDDR187) | 50
Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth up to 1.5 m, including getting out the excavated soil. and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m: All kinds of soil Pipes, cables etc, not exceeding 80 mm dia (Code: 2.10.1.1) | 100
Hydrants with tap ( for individual families of size 0.6 X 0.3 M platform) (Code: GWDDR062) | 10
Demolishing cement concrete manually / by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in-Charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (Code: 15.2.1) | 4
Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: 1:2:4 )1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) (Code: 4.1.4) | 4

## MWSS with Compressor Pump
Item Name | Quantity
Flushing (Developing) Borewell (Code: GWDDR105) | 1
Compressor pump 2 HP single phase (Code: GWDMR065) | 1
Compressor pump fitting charge (Code: GWDDR055) | 1
Providing and fixing G.I. pipes complete with G.I fittings including trenching and refilling etc. External work 25 mm dia nominal bore (18.12.3) (Code: GWDDR243) | 15
20 mm dia HDPE pipe (DG) (8kg) (Code: GWDMR076) | 50
32 mm dia UPVC pipe (Code: GWDMR072) | 60
Providing and fixing G.I. Union in G.I pipe including cutting and threading the pipe and making long screws etc. complete ( New work): 32 mm nominal bore (18.46.4) (Code: GWDDR271) | 1
GI Bend 40 mm (Code: GWDMR053) | 1
GI Socket 40 mm (Code: GWDMR057) | 1
14 mm thick nylon rope (Code: GWDMR069) | 65
Supply and drawing FRLS PVC insulated & sheathed 650/1100 V grade 3 core copper conductor flat cable for submersible pump motor conforming to IS 694 part I 1990 as required including giving necessary connections of the following sizes. 4 sq mm (90.6.6.3) (Code: GWDDR117) | 20
Well Protection Cover (Code: GWDDR001) | 1
Providing and fixing gun metal non-return valve of approved quality (screwed end): 40 mm nominal bore Horizontal (18.19.3.1) (Code: GWDDR260) | 1
40 mm SS Adapter (Code: GWDMR080) | 1
Metallic Pump House of size 1.2 x 0.9 x 2 m (Code: GWDDR006) | 1
Installation of Single Phase Panel board where new electricity connection is required (Excluding Motor Starter) (Code: GWDDR363) | 1
S & F Motor starters of the following ratings Submersible pump controllers with ammeter,DPMCB for single phase 2 HP submersible motor pumps (DOL) (90.14.28.13) (Code: GWDDR134) | 1
Angle Iron Structure To Support 3000 Litres Capacity Water Tank At 4 m Height (Code: GWDDR003) | 1
Providing and placing on terrace (at all floor levels) polyethylene water storage tank :ISI 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. (Code: 18.48) | 3000
PVC Tank connector 40 mm (Code: GWDMR035) | 1
PVC Tank connector 50 mm (Code: GWDMR036) | 1
PVC Ball valve 40 mm (Code: GWDMR042) | 1
PVC Ball valve 50 mm (Code: GWDMR043) | 1
Providing and fixing PVC pipes including jointing of pipes with one step PVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 50 mm dia 10Kgf/cm2 (50.18.9.6.1) (Code: GWDDR192) | 100
Providing and fixing PVC pipes including jointing of pipes with one step PVC solvent cement, trenching refilling & testing of joints complete as per direction of Engineer in Charge 40 mm dia 10Kgf/cm2 (50.18.9.5.1) (Code: GWDDR190) | 100
Providing and fixing PVC pipes including jointing of pipes with one step PVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.32 mm dia 10.Kgf/cm2 (50.18.9.4.1) (Code: GWDDR188) | 100
Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 25 mm dia 10KGF/cm2 (50.18.9.3.2) (Code: GWDDR187) | 100
Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth up to 1.5 m, including getting out the excavated soil. and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m: All kinds of soil Pipes, cables etc, not exceeding 80 mm dia (Code: 2.10.1.1) | 250
Hydrants with tap ( for individual families of size 0.6 X 0.3 M platform) (Code: GWDDR062) | 10
Demolishing cement concrete manually / by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in-Charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (Code: 15.2.1) | 6
Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: 1:2:4 )1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) (Code: 4.1.4) | 6

## 110 mm Borewell Construction
Item Name | Quantity
110mm (4.5") Borewell Drilling (Code: GWDDR100) | 100
Supplying, assembling, lowering and fixing in vertical position in Borewell, PVC 140 mm 6 Kg/cm2 well casing pipe of required dia, conforming to IS : 4985:2000, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer- in- Charge. (Code: GWDDR007) | 20
PVC End cap 140 mm (DG) (Code: GWDMR003) | 1

## 150 mm Borewell Construction
Item Name | Quantity
150mm (6") Borewell Drilling (Code: GWDDR101) | 100
Supplying, assembling, lowering and fixing in vertical position in Borewell, PVC 180mm 10 Kg/cm2 well casing pipe of required dia, conforming to IS : 4985:2000, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer- in- Charge. (Code: GWDDR017) | 20
PVC End Cap 180 mm (DG) (Code: GWDMR005) | 1

## 150 mm Tubewell Construction
Item Name | Quantity
150mm (6") Tubewell Drilling (Code: GWDDR102) | 150
Supplying, assembling, lowering and fixing in vertical position in bore well, unplasticized PVC medium well casing (CM) pipe of required dia, conforming to IS : 12818, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer- in- Charge. 150 mm nominal size dia (23.3.2) (Code: GWDDR022) | 120
Supplying, assembling, lowering and fixing in vertical position in bore well unplasticized PVC medium well screen (RMS) pipes with ribs, conforming to IS: 12818, including hire & labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer - in-charge 150 mm nominal size dia (23.4.2) (Code: GWDDR023) | 30
Providing and fixing Bail plug / Bottom plug of required dia to the bottom of pipe assembly of tubewell as per IS : 2800 (part I). 150 mm dia (23.15.2) (Code: GWDDR025) | 1
M.S. cap 150 mm dia (7747 - Water Charge and CPOH Added) (Code: GWDDR024) | 1
MS Casing pipe 450 mm dia, 6 mm thickness (Code: GWDMR087) | 20

## 200 mm Tubewell Construction
Item Name | Quantity
Tubewell Drilling 200mm (8") (Code: GWDDR103) | 150
Supplying, assembling, lowering and fixing in vertical position in bore well, unplasticized PVC medium well casing (CM) pipe of required dia, conforming to IS : 12818, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer- in- Charge. 200 mm nominal size dia (23.3.3) (Code: GWDDR018) | 120
Supplying, assembling, lowering and fixing in vertical position in bore well unplasticized PVC medium well screen (RMS) pipes with ribs, conforming to IS: 12818, including hire & labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer - in-charge 200 mm nominal size dia (23.4.3) (Code: GWDDR019) | 30
Providing and fixing Bail plug / Bottom plug of required dia to the bottom of pipe assembly of tubewell as per IS : 2800 (part I). 200 mm dia (23.15.3) (Code: GWDDR021) | 1
M.S. cap 200 mm dia (7748 - Water Charge and CPOH Added) (Code: GWDDR020) | 1
MS Casing pipe 450 mm dia, 6 mm thickness (Code: GWDMR087) | 20

## Submersible Pump Installation
Item Name | Quantity
Flushing (Developing) Borewell (Code: GWDDR105) | 1
Supply of Single Phase Submersible Pump 2 HP, Discharge 5200-10600 lph, Head 57-18m without Panel Board (Code: GWDMR149) | 1
40 mm dia UPVC pipe (Code: GWDMR073) | 1
14 mm thick nylon rope (Code: GWDMR069) | 85
Supply and drawing FRLS PVC insulated & sheathed 650/1100 V grade 3 core copper conductor flat cable for submersible pump motor conforming to IS 694 part I 1990 as required including giving necessary connections of the following sizes. 4 sq mm (90.6.6.3) (Code: GWDDR117) | 85
Borewell submersible pump erection charges upto 3 HP (Code: GWDDR049) | 1
Providing and fixing gun metal non-return valve of approved quality (screwed end): 40 mm nominal bore Horizontal (18.19.3.1) (Code: GWDDR260) | 1
GI Bend 40 mm (Code: GWDMR053) | 1
GI Socket 40 mm (Code: GWDMR057) | 1
40 mm SS Adapter (Code: GWDMR080) | 1
Well Protection Cover (Code: GWDDR001) | 1
Metallic Pump House of size 1.2 x 0.9 x 2 m (Code: GWDDR006) | 1
Installation of Single Phase Panel board where new electricity connection is required (Excluding Motor Starter) (Code: GWDDR363) | 1
S & F Motor starters of the following ratings Submersible pump controllers with ammeter,DPMCB for single phase 2 HP submersible motor pumps (DOL) (90.14.28.13) (Code: GWDDR134) | 1

## Compressor Pump Installation
Item Name | Quantity
Flushing (Developing) Borewell (Code: GWDDR105) | 1
Compressor pump 2 HP single phase (Code: GWDMR065) | 1
Compressor pump fitting charge (Code: GWDDR055) | 1
Providing and fixing G.I. pipes complete with G.I fittings including trenching and refilling etc. External work 25 mm dia nominal bore (18.12.3) (Code: GWDDR243) | 15
20 mm dia HDPE pipe (DG) (8kg) (Code: GWDMR076) | 50
32 mm dia UPVC pipe (Code: GWDMR072) | 60
Providing and fixing G.I. Union in G.I pipe including cutting and threading the pipe and making long screws etc. complete ( New work): 32 mm nominal bore (18.46.4) (Code: GWDDR271) | 1
GI Bend 40 mm (Code: GWDMR053) | 1
GI Socket 40 mm (Code: GWDMR057) | 1
14 mm thick nylon rope (Code: GWDMR069) | 65
Supply and drawing FRLS PVC insulated & sheathed 650/1100 V grade 3 core copper conductor flat cable for submersible pump motor conforming to IS 694 part I 1990 as required including giving necessary connections of the following sizes. 4 sq mm (90.6.6.3) (Code: GWDDR117) | 20
Well Protection Cover (Code: GWDDR001) | 1
Providing and fixing gun metal non-return valve of approved quality (screwed end): 40 mm nominal bore Horizontal (18.19.3.1) (Code: GWDDR260) | 1
40 mm SS Adapter (Code: GWDMR080) | 1
Metallic Pump House of size 1.2 x 0.9 x 2 m (Code: GWDDR006) | 1
Installation of Single Phase Panel board where new electricity connection is required (Excluding Motor Starter) (Code: GWDDR363) | 1
S & F Motor starters of the following ratings Submersible pump controllers with ammeter,DPMCB for single phase 2 HP submersible motor pumps (DOL) (90.14.28.13) (Code: GWDDR134) | 1

## 6m RCC Structure for Water Tank
Item Name | Quantity
Surface dressing of the ground including removing vegetation and in-equalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. All kinds of soil (Code: 2.28.1) | 9
Earth work in excavation by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift up to 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil (Code: 2.8.1) | 3.2
Excavation work by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift up to 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50 m. Ordinary rock (Code: 2.9.1) | 2.8
Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: 1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40 nominal size) (Code: 4.1.8) | 0.8
Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level: 1:2:4 ( 1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) (Code: 5.1.3) | 2.2
Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. up tot floor five level excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3( 1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) (Code: 5.2.2) | 2.16
Reinforced cement concrete work in beams, suspended floors, roofs, having slope up to 150 landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases up to floor five level excluding the cost of centering, shuttering, finishing and reinforcement, with1:1.5:3 (1 cement : 1.5 coarse sand (Zone III) : 3 graded stone aggregate 20 mm nominal size). (Code: 5.3) | 2.42
Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete upto plinth level Mild steel and Medium Tensile steel bars (Code: 5.22.1) | 98.49
Centering and shuttering including strutting, etc. and removal of form for: Foundations, footings, bases of columns, etc for mass concrete (Code: 5.9.1) | 11.2
Centering and shuttering including strutting, etc. and removal of form for: Columns, Pillars, Piers, Abutments, Posts and Struts (Code: 5.9.6) | 28.8
Centering and shuttering including strutting, etc. and removal of form for: Lintels, beams, plinth beams, girders bressumers and cantilevers (Code: 5.9.5) | 14.84
Centering and shuttering including strutting, etc. and removal of form for: Suspended floors, roofs, landings, balconies and access platform (Code: 5.9.3) | 6.91
12 mm cement plaster finished with a floating coat of neat cement of mix: 1:3 ( 1 cement : 3 fine sand) (Code: 13.7.1) | 54.91
White washing with lime to give an even shade: New work (three or more coats) (Code: 13.37.1) | 54.91
Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approves steel primer. G.I. pipes (Code: 10.26.3) | 16
Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate)finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. 40 mm thick with 20 mm nominal size stone aggregate (Code: 11.3.1) | 3.24
Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approves steel primer. G.I. pipes (Code: 10.26.3) | 120
Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level: 1:2:4 ( 1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) (Code: 5.1.3) | 0.05

## ARS Pit
Item Name | Quantity
Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: 1:2:4 (cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) (Code: 4.1.3) | 0.24
Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete upto plinth level Mild steel and Medium Tensile steel bars (Code: 5.22.1) | 10
Centering and shuttering including strutting, propping etc. and removal of form work for: Foundations, footings, bases for columns (Code: 4.3.1) | 9.73
12 mm cement plaster of mix: 1:4 ( 1 cement : 4 fine sand) (Code: 13.1.1) | 9.73
Mason (brick layer) 1st class (Code: 0123 - Water Charge and CPOH Added) | 0.5
Beldar (Code: 0114 - Water Charge and CPOH Added) | 1
Coolie (Code: 0115 - Water Charge and CPOH Added) | 2
Hire charges of Concrete Mixer 0.25 to 0.40 cum with Hopper (Code: 0002 - Water Charge and CPOH Added) | 0.5
Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: 1:1/2:3 (cement : 11/2 coarse sand : 3 graded stone aggregate 20 mm nominal size) (Code: 4.1.2) | 0.241
Centering and shuttering including strutting, propping etc. and removal of form work for: Foundations, footings, bases for columns (Code: 4.3.1) | 0.6
Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete upto plinth level Mild steel and Medium Tensile steel bars (Code: 5.22.1) | 19.28
12 mm cement plaster of mix: 1:4 ( 1 cement : 4 fine sand) (Code: 13.1.1) | 2.6
Mason (brick layer) 1st class (Code: 0123 - Water Charge and CPOH Added) | 0.1
Beldar (Code: 0114 - Water Charge and CPOH Added) | 0.2
Coolie (Code: 0115 - Water Charge and CPOH Added) | 0.2
Hire charges of Concrete Mixer 0.25 to 0.40 cum with Hopper (Code: 0002 - Water Charge and CPOH Added) | 0.1
Stone Aggregate (Single size) : 20 mm nominal size (Code: 0295 - Water Charge and CPOH Added) | 1
Carriage of Stone aggregate below 40 mm nominal size (Code: 2202 - Water Charge and CPOH Added) | 1
Coolie (Code: 0115 - Water Charge and CPOH Added) | 0.4

## Pre Cast RCC Ring for ARS Pit
Item Name | Quantity
Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: 1:2:4 (cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) (Code: 4.1.3) | 0.24
Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete upto plinth level Mild steel and Medium Tensile steel bars (Code: 5.22.1) | 10
Centering and shuttering including strutting, propping etc. and removal of form work for: Foundations, footings, bases for columns (Code: 4.3.1) | 9.73
12 mm cement plaster of mix: 1:4 ( 1 cement : 4 fine sand) (Code: 13.1.1) | 9.73
Mason (brick layer) 1st class (Code: 0123 - Water Charge and CPOH Added) | 0.5
Beldar (Code: 0114 - Water Charge and CPOH Added) | 1
Coolie (Code: 0115 - Water Charge and CPOH Added) | 2
Hire charges of Concrete Mixer 0.25 to 0.40 cum with Hopper (Code: 0002 - Water Charge and CPOH Added) | 0.5

## RCC Slab for ARS Pit
Item Name | Quantity
Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: 1:1/2:3 (cement : 11/2 coarse sand : 3 graded stone aggregate 20 mm nominal size) (Code: 4.1.2) | 0.241
Centering and shuttering including strutting, propping etc. and removal of form work for: Foundations, footings, bases for columns (Code: 4.3.1) | 0.6
Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete upto plinth level Mild steel and Medium Tensile steel bars (Code: 5.22.1) | 19.28
12 mm cement plaster of mix: 1:4 ( 1 cement : 4 fine sand) (Code: 13.1.1) | 2.6
Mason (brick layer) 1st class (Code: 0123 - Water Charge and CPOH Added) | 0.1
Beldar (Code: 0114 - Water Charge and CPOH Added) | 0.2
Coolie (Code: 0115 - Water Charge and CPOH Added) | 0.2
Hire charges of Concrete Mixer 0.25 to 0.40 cum with Hopper (Code: 0002 - Water Charge and CPOH Added) | 0.1

## ARS Pit Filling
Item Name | Quantity
Stone Aggregate (Single size) : 20 mm nominal size (Code: 0295 - Water Charge and CPOH Added) | 1
Carriage of Stone aggregate below 40 mm nominal size (Code: 2202 - Water Charge and CPOH Added) | 1
Coolie (Code: 0115 - Water Charge and CPOH Added) | 0.4

## ARS Lettering
Item Name | Quantity
Painting with silicon & acrylic emulsion based water thinnable sealer of approved brand and manufacture on wet or patchy portion of plastered surfaces: Two coats (Code: 13.51.2) | 0.8
Lettering with black Japan pint of approved brand and manufacture (Code: 13.71) | 250

## Marble Stone Work
Item Name | Quantity
Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in Charge and finished smooth. White Agaria Marble Stone (Code: 8.10.1) | 0.375
Engraving letters in hard stone (Code: 16.21) | 350.1