## Sheet1
Flushing (Developing) Borewell (Code: GWDDR105) | 1
Pump and Accessories
Supply of Single Phase Submersible Pump 1.5 HP, Discharge 300-2100 lph, Head 180-51m without Panel Board (Code: GWDMR148) | 1
Supply and drawing FRLS PVC insulated & sheathed 650/1100 V grade 3 core copper conductor flat cable for submersible pump motor conforming to IS 694 part I 1990 as required including giving necessary connections of the following sizes. 4 sq mm (90.6.6.3) (Code: GWDDR117) | 1
40 mm dia UPVC pipe (Code: GWDMR073) | 1
14 mm thick nylon rope (Code: GWDMR069) | 1
Borewell submersible pump erection charges upto 3 HP (Code: GWDDR049) | 1
GI Bend 40 mm (Code: GWDMR053) | 2
GI Socket 40mm(Code: MR7075 - Water Charge and CPOH Added) | 1
Gunmetal non-return valve - vertical (screwed end) 40 mm dia (Code: 3088 - Water Charge and CPOH Added) | 1
Electric Connection
Supply & laying of one number PVC insulated and PVC sheathed armoured copper power cable of 1.1KV grade of the following sizes in ground including excavation of trench of size 35 x 75 cm, refilling the trench etc. as required but excluding sand cushioning and protective covering (in ordinary soil). 3 core 4 sq mm (90.12.37.5) (Code: GWDDR127) | 1
Installation of Single Phase Panel board where new electricity connection is required (Excluding Motor Starter) (Code: GWDDR363) | 1
S & F Motor starters of the following ratings Submersible pump controllers with ammeter,DPMCB for single phase 1.5 HP submersible motor pumps (DOL) (90.14.28.12) (Code: GWDDR133) | 1
Supplying and fixing digital timer | 1
Electric connection charges including contribution to KSEB | 1
Civil Structures
Metallic Pump House of size 1.2 x 0.9 x 2 m (Code: GWDDR006) | 1
Angle Iron Structure To Support 5000 Litres Capacity Water Tank At 6 m Height (Code: GWDDR004) | 1
Well Protection Cover (Code: GWDDR001) | 1
Pumping and Distribution System
Providing and placing on terrace (at all floor levels) polyethylene water storage tank ISI : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank as per (18.48) (Code: GWDDR201) | 1
PVC Tank connector 63 mm (Code: GWDMR037) | 1
PVC Tank connector 50 mm (Code: GWDMR036) | 1
PVC Tank connector 40 mm (Code: GWDMR035) | 1
PVC Tank connector 32 mm (Code: GWDMR034) | 1
Providing and fixing PVC pipes including jointing of pipes with one step PVC solvent cement, trenching refilling & testing of joints complete as per direction of Engineer in Charge 40 mm dia 10Kgf/cm2 (50.18.9.5.1) (Code: GWDDR190) | 1
Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement & testing of joints complete as per direction of Engineer in Charge. 40 mm dia 10 KGF/cm2 (Code: GWDDR040) | 1
Providing and fixing PVC pipes including of pipes with one step PVC solvent cement, trenching refilling & testing of joints complete as per direction of Engineer in Charge. 63 mm dia 6Kgf/cm2 (50.18.9.7.1) (Code: GWDDR194) | 1
Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement & testing of joints complete as per direction of Engineer in Charge.63 mm dia 6 KGF/cm2 (Code: GWDDR043) | 1
Providing and fixing PVC pipes including jointing of pipes with one step PVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 50 mm dia 6 Kgf/cm2 (50.18.9.6.2) (Code: GWDDR193) | 1
Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement & testing of joints complete as per direction of Engineer in Charge. 50 mm dia 6 KGF/cm2 (Code: GWDDR041) | 1
Providing and fixing PVC pipes including jointing of pipes with one step PVC solvent cement, trenching, refilling & testing of joints compete as per direction of Engineer in Charge. 40 mm dia 6 Kgf/cm2 (50.18.9.5.2) (Code: GWDDR191) | 1
Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement & testing of joints complete as per direction of Engineer in Charge. 40 mm dia 6 KGF/cm2 (Code: GWDDR039) | 1
Providing and fixing PVC pipes including jointing of pipes with one step PVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.32 mm dia 10.Kgf/cm2 (50.18.9.4.1) (Code: GWDDR188) | 1
Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement & testing of joints complete as per direction of Engineer in Charge. 32 mm dia 10KGF/cm2 (Code: GWDDR037) | 1
Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 25 mm dia 10KGF/cm2 (50.18.9.3.2) (Code: GWDDR187) | 1
Providing and fixing PVC pipes includes jointing of pipes with one step PVC solvent cement & testing of joints complete as per direction of Engineer in Charge. 25 mm dia 10KGF/cm2 (Code: GWDDR036) | 1
Providing and fixing G.I. pipes complete with G.I fittings: 80 mm dia nominal bore (Code: GWDDR035) | 1
Providing and fixing G.I. pipes complete with G.I fittings: 65 mm dia nominal bore (Code: GWDDR034) | 1
Providing and fixing G.I. pipes complete with G.I fittings: 50 mm dia nominal bore (Code: GWDDR033) | 1
Providing and fixing G.I. pipes complete with G.I fittings: 40 mm dia nominal bore (Code: GWDDR032) | 1
Providing and fixing G.I. pipes complete with G.I fittings: 32 mm dia nominal bore (Code: GWDDR031) | 1
PVC Ball valve 63 mm (Code: GWDMR044) | 1
PVC Ball valve 50 mm (Code: GWDMR043) | 1
PVC Ball valve 40 mm (Code: GWDMR042) | 1
PVC Ball valve 32 mm (Code: GWDMR041) | 1
PVC Ball valve 25 mm (Code: GWDMR040) | 1
Permission from PWD for Berm cutting (as per circular no. CEPWD/2675/2021-C4(W)-RD dtd 10-02-2023 of Kerala PWD CE(Roads)). | 1
Permission from PWD for Road crossing (as per circular no. CEPWD/2675/2021-C4(W)-RD dtd 10-02-2023 of Kerala PWD CE(Roads)). | 1
Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. (Code: 16.83) | 1
Laying old cement concrete interlocking paver blocks of any design/ shape laid in required line, level, curvature, colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer-in-charge. (Old CC paver blocks shall be supplied by the department free of cost.) (Code: 16.84) | 1
Dismantling manually / by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer -in-Charge: Bituminous road (Code: 15.43.2) | 1
Demolishing cement concrete manually / by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in-Charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (Code: 15.2.1) | 1
Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: 1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40 nominal size) (Code: 4.1.8) | 1
Hydrants with tap (for common use of size 0.8 x 0.5 m platform) (Code: GWDDR061) | 1
Hydrants with tap ( for individual families of size 0.6 X 0.3 M platform) (Code: GWDDR062) | 1
Supplementary Works
Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in Charge and finished smooth. Granite Stone of approved shade (Code: 8.10.2) | 1
Engraving letters in hard stone (Code: 16.21) | 1