## Estimate
Sl.No | Item Name | Rate | Unit | Qty | Total | GST
1 | Borewell Developing Charges | 5790 | each | 1 | 5790 | Yes
2 | Supply Fitting of Submersible Pump Single Phase - 1.5hp 18 stage 107-30m head ISI | 21930 | each | 1 | 21930 | Yes
3 | Supply Fitting of ISI UPVC Pipe 40mm dia | 295 | metre | 80 | 23600 | Yes
4 | Supply Fitting of Nylon Rope 14mm thick | 41 | metre | 85 | 3485 | Yes
5 | Supply Fitting of Submersible 3 Core Cable ISI 4mm | 145 | metre | 85 | 12325 | Yes
6 | Pump erection charge upto 3hp | 7952.9394 | each | 1 | 7952.9394 | Yes
7 | Supply fitting of NRV 40mm | 950.2374 | each | 1 | 950.2374 | Yes
8 | Supply Fitting of SS Adaptor 40mm dia | 800 | metre | 1 | 800 | Yes
9 | Fabrication and Installation of Well Protection Cover | 4503.364 | each | 1 | 4503.364 | Yes
10 | Fabrication and Installation of Metallic pump house 1.2 x 0.9 x 2m | 27628 | metre | 1 | 27628 | Yes
11 | Fabrication and Installation of Panel board Single phase | 10890.4214 | each | 1 | 10890.4214 | Yes
12 | Fabrication and Installation of Iron Structure 4m for 3000 ltr water tank | 78739.8 | each | 1 | 78739.8 | Yes
13 | Supply fitting of ISI PVC Water Tank | 10.5677 | litre | 3000 | 31703.13 | Yes
14 | Tank connector 50mm | 235 | each | 1 | 235 | Yes
15 | Tank connector 40mm | 210 | each | 1 | 210 | Yes
16 | Supply fitting of PVC ball valve 50mm | 300 | each | 1 | 300 | Yes
17 | Supply fitting of PVC ball valve 40mm | 235 | each | 1 | 235 | Yes
18 | Providing and fixing ISI PVC Pipes includes jointing of pipes with one step PVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge 50mm 10kg/cm2. | 274.9921 | metre | 50 | 13749.6028 | Yes
19 | Providing and fixing ISI PVC Pipes includes jointing of pipes with one step PVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge 40mm 10kg/cm2. | 266.9721 | metre | 50 | 13348.6028 | Yes
20 | Providing and fixing ISI PVC Pipes includes jointing of pipes with one step PVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge 32mm 10kg/cm2. | 243.5921 | metre | 50 | 12179.6028 | Yes
21 | Providing and fixing ISI PVC Pipes includes jointing of pipes with one step PVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge 25mm 10kg/cm2. | 218.8821 | metre | 50 | 10944.1028 | Yes
22 | Fabrication and Installation of Individual Hydrants with tap | 1980.7037 | each | 10 | 19807.0373 | Yes
23 | Trenching for pipe laying | 147.7269 | metre | 100 | 14772.6916 | Yes
24 | Concrete Cutting for pipe laying in m3 | 2083.6347 | cum | 4 | 8334.5388 | Yes
25 | Providing and laying in position cement concrete Filling 1:2:4 in m3 | 8141.1428 | cum | 4 | 32564.571 | Yes
Subtotal |  |  |  |  | 356978.6422
GST (18%) |  |  |  |  | 64256.16
Unforeseen (5%) |  |  |  |  | 17848.93
Grand Total |  |  |  |  | 440000